Table of Contents

1. Introduction

2. Context
- Problem statement
- Climate science & precision agriculture
- Sensors & networks
- e-Agriculture & crowd-sourcing
- Sensors & agriculture

3. Non-spatial network aspects
- Introduction
- Sensor & temporal
- Sensor shielding
- Data calibration
- Discussion

4. Spatial aspects of the network
- Sampling & spatial distribution
- Interpolation strategy
- Network accuracy
- Modelling co-variables
- Discussion

5. Practical implementation
- Introduction to Aquiares
- Introduction to coffee
- Climate & coffee quality
- Climate & pests/diseases
- Discussion

6. Conclusion & recommendations

1. Introduction

This Msc thesis will discuss the needs for low-cost networks of climate sensors and will deal with several issues that have to be taken into account when implementing such networks. The document will be divided into four main parts. The first section will discuss the wider context in which these networks have to be seen; this includes a short history of the existing network, the limitations, and the possible uses of a network that can be used to understand local differences in rural areas. The problem of the currently available data will be discussed, as well as projects in which these networks could be used. Several network- & sensor types will be dealt with to place the created network into a wider context. After providing the context, the second section will deal with the non-spatial aspects of the network; this will mainly relate to quality control. This section is used to calibrate the data and compare it to existing (WHO-certified) weather stations. Results of a set of experiments will be covered here, including experiments related to the sensor resolution, temporal resolution, and possibilities to use regression to make data comparable to official weather stations. This will ensure that the data that will be used in futher spatial modelling will be of sufficient level, to avoid the 'garbage in, garbage out' problem for which we have all be warned during this Msc.

The third section will deal with the spatial aspects of the network; this will include the selected sampling strategy, the spatial-temporal interpolation technique, and several statistical analyses. Statistical tests will be used to find the accuracy of the network and aim to find the lowest number of sensors that will provide sufficient detail. Other tests will be conducted to find the relationship between both fixed (altitude, vegetation height and leaf area index) and flexible (sun position and related shading) factors and the (min, mean & max) temperature and humidity that has been measured at different moments throughout the day (24 hours will be selected). After these theoretical sections, the fourth section will focus on the practical implementation and its uses. Coffee will be selected as study crop, and the sensor-network will be used to make different analyses. The first one will be analyse whether there is a statistically significant difference in 'climate' between three altitude ranges that are linked to different qualities of coffee, the second will be to link the data to a number of crop- and pest-thresholds that have an impact on coffee production in the region. The fifth and final section will deal with the conclusions and recommendations of this research project. All (R-) scripts that have been used for the different sections of this thesis will be made available in an online repository.

2. Background
Problem statement:

The need for better understanding of the variation in local climate is stressed from different sides; the information people need the most – local climatic changes – is also the most difficult to predict (Schiermeier 2010)⁠. Within the agricultural sector, environmental concerns emphasis the need to understand site-specific conditions in order to reduce use of external inputs (e.g. by precision agriculture) and find suitable varieties. Climate analogues are expected to move and cause shifts in crops at the global scale (Ramirez-Villegas et al. 2011)⁠, while options for adaptation will often depend on the local context (Nhemachena & Hassan 2007)⁠. At this level, there will also be different micro-climates, which are influenced by factors such as the canopy height (and density), the shelter or openness to wind, general topography (including slope aspect) and the vicinity of larger water bodies (Ashcroft & Gollan 2013)⁠. Official weather stations have to meet a lot of standards (WMO 2008)⁠ and are not available in many regions. Even if they are, data is not always digitized and thus easily accessible. Interpolation based on this data has been done for larger regions (Hijmans et al. 2005)⁠, but faces large number of uncertainties. As smallholder farmers often cultivate more complex (marginal/mountainous) terrains (Altieri 2002)⁠, information about climatic differences at this scale will be especially relevant to them. Information at this level is still lacking in most regions.

Downscaling of several crucial climatic factors that influence crop performance can help to better target certain crops and crop varieties to farmers. Existing examples will be discussed in the section on linked projects. Most of the projects that currently use site-specific and frequently updated information are focused on large-scale commercial farming systems in developed countries. While site-specific information is available on many issues in developing countries, these are generally not well-linked or regularly updated. The current models that match climate and crops are often based on maps of a scale that is not really relevant for small farmers in complex terrain; even the very high resolution climate dataset WorldClim still has a cell-size of 1km2 (Hijmans et al. 2005)⁠. Taking into account the many local factors that influence climate, and that the area that smallholders generally cultivate small areas in risk prone areas (Morton 2007)⁠, there is a need for more site-specific information for these farmers. Site-specific information can be provided by a range of low-cost technologies and mobile applications. Mobile applications in small-scale agriculture (hereafter referred to as e-Agriculture) can help in providing (a) information about markets and general farming methods (e.g. Gakuru et al. 2009)⁠, and (b) site-specific recommendations about fertilizer application based on taking images (Satyanarayana et al. 2011)⁠, but can also be used in more participatory approaches, such as crowd sourcing of crop improvement (Van Etten 2011)⁠. How to have sufficient farmer participation in projects that deal with something with less direct benefits (compared to most extension projects), will also be an issue that will be discussed in this thesis.
Climate science & precision agriculture

Climate science has a long history which will not be covered in detail here, as it has already been covered in much detail in numerous papers and books. The first time a network (Reseau Mondial) has been proposed for real-time datasharing (by telegram) was in 1900 (Edwards 2010), but only once the computer arrived, different formats could easily be merged to use in forecasting. The first satellites were launched in the late 1950s (Erickson 1964)⁠, after which both weather stations and satellite data could be used in climate science. When used in agriculture science, the main difference between satellites and weather station data is that weather station data give accurate but sporadic data, while for satellites it is hard to measure near-surface phenomena (e.g. precipitation), but the spatial coverage is complete. Tests have shoswed that satellites provide better temprature measurements than interpolated weather station data, while this is the other way around for precipitation data (Mendelsohn et al. 2007)⁠. As interpolation seems to be the main problem, increasing the number of weather stations should be able to outperform satellite temperature observations. Satellite data will remain important for issues that can not be measured at the ground level, which includes cloud data. At other levels, weather monitoring can now also be done by other – more responsive – approaches, such as by using wireless sensor networks (Popa & Iapa 2011)⁠

Using the newest technology to improve the efficiency of resources in agriculture has been happening for decades, and options related to geographic information systems can be found in precision agriculture systems in many regions in the world with farms of sizes that make these profitable. One example of current developments is Monsanto’s FieldScripts, which can recommend a certain seed for all farmers in the US, based on billions of soil observations and data from trillions of weather-simulation points (Beardsley 2014)⁠. Other uses of large networks of sensors include the use of a network of radio telescopes for measuring micro-climates in potato crops in Europe, and linking this to risk of phytophtora (Baggio 2005)⁠, as well as linking (Davis) weather stations to risk of pests and the dangers they pose to certain crops. The costs normally associated with these kinds of sensor-networks - and availability of related data-sets on other environmental aspects that impact on crop-performance - will create limitations for scaling-up these projects to regions with less commercial farming. The decreasing cost, together with the increasingly small size of sensors and advancements in technology (related to data storage & transmission), however, are making the use of micro-sensors interesting for a wide range of purposes (Ruiz-Garcia et al. 2009)⁠. While many of these sensors have initially been developed for use in other fields, such as logistics (e.g. Jedermann et al. 2006)⁠, micro-sensors have already been used in clinical studies (van Marken Lichtenbelt et al. 2006)⁠, a range of environmental studies including habitat monitoring (e.g. Mainwaring et al. 2002)⁠ and measuring ocean acidification (Rérolle et al. 2012)⁠. There are large differences between sensors when it comes to costs, accuracy, measurements, lifespan, memory and data transmission.
While there are is thus clearly a adequate number of options to select from, the main issue in making these networks relevant is not the sensor itself, but the shield in which the sensor is placed. The actual sensor itself is small and affordable, and the construction in which it is placed mainly adds issues such as storage, connectivity and a little robustness to shocks and water damage. This sensor housing – in case of the cheaper sensors – does not add active ventilation or other protection from radiation. This, together with the standards that are set by the WHO (box 1), creates the need for a sensor shield in which the sensor will be placed. Some of the recommendations are easy to address in a low-cost sensor-shield (including height, inspection, comparison, coordinates, and metadata), while others are clearly more problematic when working with a limited budget. These include the addition of adequate radiation shielding, insulating material, and protection from water. While some 'robustness' can be added to the shield at low-cost, additional correction will likely have to be done by computer models. An important note made in the WMO Guide to Meteorological Instruments and Methods of Observation is that, while it is acknowledged that it might not be economically feasible to work with sensors that directly meet the accuracy requirements, ‘it is necessary to limit the size of the corrections to keep residual errors within bounds’. Issues related to the sensor resolution, temporal interval, and shielding, will be discussed in the section on non-spatial network aspects; a number of experiments will be analyzed regarding different shield constructions.

Box 1: Summary of relevant recommendations for weather stations (WMO 2008)⁠⁠ / For general meteorological work, the observed air temperature should be representative of the free air conditions surrounding the station at a height of between 1.2 and 2.0 m above ground level. / A radiation shield or screen should be designed to provide an enclosure with an internal temperature that is both uniform and the same as that of the outside air; it should completely surround the thermometers and exclude radiant heat, precipitation and other phenomena that might influence the measurement. / Thermally insulating plastic-based material is preferred as material for the shield over the better performing highly polished, non-oxidized metal, because of its simple maintenance requirements; thermally insulating material must be used if the system relies on natural ventilation. / A humidity sensor may be combined with or co-located with a temperature sensor in its radiation shield as long as the sensor thermal output (self-heating) is very low. / Direct contact with liquid water will seriously harm sensors using hygroscopic electrolyte as a sensor element. Great care should be taken to prevent liquid water from reaching the sensitive element sensors. / Desirably characteristics include reliability & stability, simplicity of design, durability and acceptable cost. / Agricultural meteorological stations should be inspected at interval sufficiently short to ensure the maintenance of a high standard of observations and the correct functioning of the sensor. / Recording instruments should be compared frequently with instruments of the direct-reading type. / The position of a station referred to in the World Geodetic System 1984 (WGS-84) Earth Geodetic / Model 1996 (EGM96) must be accurately known and recorded (1/1000 degrees latitude & longitude). / It is important that records should be kept not only of the temperature data, but also of the circumstances in which the measurements are taken (metadata).

Sensors & networks

Micro-sensors can ‘sense’ many different phenomena and disseminate information in different ways; a detailed taxonomy of wireless micro-sensor network models has been made in Tilak et al. 2002 (Tilak et al. 2002)⁠. Micro-sensors can be used to monitor a wide range of physical and chemical factors, such as chemical compositions and temperature. Whereas the actual manufacturing of micro-sensors is probably not very expensive, the development process is likely more restrictive to development for use in small-scale agriculture. The main commercial demands will be a large storage capacity in the logistics sector (to check the conditions during the transportation after it has arrived at a certain point), and a real-time reading ability in buildings or greenhouses. A combination of real-time reading and a large storage is not necessalery for many purposes, while this would be necessary in small-scale agriculture; (semi-) real-time information can help in analyzing periods of crop stress or risk of diseases, while sufficient storage will be needed to only require reading of the sensors once a month or less to limit labor requirements. As developments in this field are proceeding rapidly, there will likely be affordable sensors available with all the right characteristics in a few years. At this moment the study will focus on issues that will remain relevant for other sensors; this includes the shielding, callibration and interpolation. Actual use will change a bit with the availability of real-time data, as this can be used for early warning, while the current system can only assess which areas have been (and thus will likely also be in the next season) at highest risk to surpass certain temperature and humidity thresholds.

The sensors that will be used in this research (iButtons) have mainly been developed for logistics, but have been used in a wide range of scientific field – and have been common in similar studies in ecology. The price for one iButton (if sold per thousand) ranges from under 2 USD for a basic tempearture logger to over 50 USD for the sensors that will be used in this research (Maxim Integrated, web). Important issues that have to be taken into account outside the issues that can be monitored will include (a) the interval and total number of measurements that can be made and stored; (b) ways in which the data can be transmitted (wireless transmission or USB-upload); and (c) the energy requirements (battery life) of the sensor. For long-term monitoring, it will be crucial to find energy-efficient paths, although this will depend on the type of transmission of the sensors (Shah & Rabaey 2002)⁠. This is an issue, however, that is not relevant for the created network.

Table

e-Agriculture & crowd-sourcing

The term e-Agriculture was first promoted at the World Summit on the Information Society (Singh 2012)⁠ in which it was identified as a key-action line to address the Millennium Development Goals. E-Agriculture is defined as ‘an emerging field in the intersection of agricultural informatics, agricultural development and entrepreneurship, referring to agricultural services, technology dissemination, and information delivered or enhanced through the Internet and related technologies’, but is going beyond technology and has as aim to improve the communication and learning processes in the agricultural sector (http://www.e-agriculture.org/). As ICT is easily accessible, national research institutes as well as international agricultural research centres can create their own applications to provide extension to their target audience. This makes this approach better targeted (more site-specific), but will also cause problems with conflicting information and with monitoring and evaluation (which ‘app’ has resulted in which impact). The number of farmers that can be reached by e-Agriculture is obviously much higher than would be possible with traditional extention approaches, and the cost of reaching one person much lower. This does not yet indicate anything about the cost-benefit, as the level of 'contact' is very different. The Agriculture Resources Information System Network (AGRISNET) project in India provides a good indication of the scale that can be attained by e-Agriculture. Linking local climatic data, derived from micro-sensors, to mobile applications can lead to better information to base advice on. Projects are already ongoing regarding mobile meteorological measurements, and linking these to large scale e-Agriculture programs can create a lot of benefits for many mobile extension programs.

Although e-agriculture approaches provide interesting opportunities to generate cost-effective solutions to information provision, most solutions so far have focused on getting information to farmers. Crowdsourcing is an approach in which tasks are outsourced to (paid or unpaid) volunteers and has a long history in ecological research (Miller-Rushing et al. 2012)⁠. Bioversity International, an international agricultural research institute member of the CGIAR Consortium has developed an approach in which large numbers of farmers test crop varieties. Each farmer tests a set of small seed samples of three different varieties. They compare the varieties for a number of characteristics and report back on their findings and can also order more seed. Innovative algorithms used in market research applications are used to extract patterns from the data which are returned to farmers in an easily interpretable form (Van Etten 2011)⁠. The contribution of farmers (land, labour, resources) and the use of mobile phone technology at different stages in the process make the process drastically cheaper than conventional approaches. Mobile phones (with limited functionality) and charging station will have to be provided to farmers in order to receive feedback. Adding climatic information to these programs can increase understanding of the crop perforance and be used to recommend certain vareties that have peformed well in other regions.
Micro-sensors & Agriculture

While a range of studies have focused on the impact of understory microclimates on crops – often related to forms of agroforestry (Brown 1993; Perfecto & Vandermeer 1996; Lin 2007), these have often only taken into account the basic vegetation differences (height, leaf area index) and not the actual temperature/humidity parameters measured regularly for a longer period. On the other hand, the impact of temperature on crops is also well studied - as can be seen in the EcoCrop database (FAO 2013)⁠, and in lesser extent also the impact of relative humidity (Easterling et al. 1992)⁠. Linking these two kinds of studies has been quite limited, as climatic parameters have not been available at the level at which the crops grow. Linking crops to suitable data can be done by matching the EcoCrop dataset with current climate maps (e.g. Hijmans et al. 2005)⁠ and future climate (e.g. Govindasamy et al. 2003)⁠. This can be done in desktop GIS applications, such as DIVA-GIS, but also by online models, such as CGIAR’s Climate Analogues (CGIAR/CCAFS 2011)⁠, which can take into account different models and (bio-) climatic variables. The Climate Analogues can also take into account non-climatic factors, such as socio-economic characteristics, crops, and soils (Ramirez-Villegas et al. 2011)⁠. The main limitation of both tools is that the minimum resolution in analyses will be ≥ 1 km2, although there are also other limitations to applying this approach over larger areas with different soil types, social preferences and other factor that influence crop choices.

Studies regarding the temperature thresholds and impact of relative humidity on crops is mainly studied in controlled (greenhouse) environments. This will help to analyse the optimal and absolute temperature range, but more complex relationships, such as canopy height and density, cannot easily be studied at this level. Local climate is also only one factor within the biophysical environment that impacts on crops; and this is only one of the reasons for the existing yield gaps – together with crop management, socio-economic factors, institutional environment and technology transfer (FAO 2000)⁠⁠. Another problem with linking climate and crops in existing models is that variation at the local level is so high, that models have to be validated (at the site/surrounding area) by data from a number of years (Lobell et al. 2009)⁠, resulting in smoothed datasets. While this is useful in models related to current and future crop potential (possibly linked to transfer of genetic material) by focusing on climate analogues, this will not be useful for taking into account local climates. Two approaches to analyse the link between, amongst other factors, climates and crop yield can be based on polygon or grid-based methods (Van Ittersum et al. 2013)⁠; polyon-based approaches uses a validated point and scales this up to a higher geographical level without data corrections, while a raster-based approach uses inter- and/or extrapolation when scaling up to a higher level. This research will use a raster-based approach to data analysis. Low-cost and robust networks of micro-sensors that measure temperature and humidity can complement satellite images and certified weather stations to give a better indication of the actual local extremes in a region.
A network of micro-sensors that can measure temperature and humidity can have a range of possible uses. The network that will be implemented in this research will only provide information after the data has been downloaded to a computer. This will mean real-time data is not available and information can only be analyzed after the sensors have been retrieved from the field. A lot of information will become available that can be used for scientific studies that will find relations between fixed (or predictable) factors and the temperature and humidity. Basic relationships that can be studied include the relationship between topography and the climate (Whiteman 2000; Daly et al. 2002)⁠, as well as certain vegetation-related factors and climate. Another use of non-realtime information is to find local differences in the area. When taking the average over a longer period, it will become clear which areas are wetter/warmer and this can be linked to risk of certain diseases. Whether the predicted risks are linked to actual risk will require additional information of the state of the crops and pests during the growing season, but this detail of information is not available for this study region. The data will give interesting information about the climate at different altitudes, as this is often the main indicator of coffee quality. Accept for studying issues that have already occurred, this data can be used to recommend other crops. If sensors have been measuring for a longer period and show a climate that is clearly not sufficiently suitable for the current crops, the dataset could be linked to information about other crops (e.g. EcoCrop) to find alternatives that could be socially acceptable. Research related to (plant and animal) diversity can also benefit from these networks, by enabling to (a) study the relationship between temperature variation and plant diversity (Letten et al. 2013)⁠, and (b) locate microrefugia (Ashcroft & Gollan 2013)⁠.

The biggest increase in uses will be made possible when adding the possibility to read the data real-time. This will make it possibly to make an early warning system out of the network. An example of a similar project, based on weather stations, is the Integrated Pest Management software that is created by Davis (http://www.davisnet.com/weather/products/IPM/). The objective of this software is to take the current weather conditions and use this to calculate risk of pest (insects & diseases) and the related risk to the crop. This can be used to select the pest control method that is most suistable for the risk. In developing countries, this early warning is also done for many isses (plant protection, animal health and food safety are covered by FAO EMPRES). This early warning is mainly focused on the larger transboundary threats, and thus also larger strategies (satellite images and aerial surveys). Information based on climatic factors at the local level still have the possibility to provide large gains for pest monitoring of the smaller risks, which can be equaly devestating at crops – although maybe posing a smaller risk to countries' food security. In case there is an official weather station in the area that provides real-time information, this could be linked to the network. After data is available on how the climate differs over the area, a certain temperature for the official sensor can be used to predict how the climate will be over the larger area. This would provide possibilities for pest monitoring after the network has been removed from the area.
3. Non-spatial network aspects
Introduction

With an objective to create a low-cost and robust network of climate-sensors, it will be important to find a good balance of costs and accuracy. The data has to be accurate enough to provide data about the climate in the area, and especially the extremes that are occurring in different regions and seasons. The costs can be reduced by having a low-cost housing of the sensors, but also by decreasing the labour required. This means being able to use the sensors in the field for a long period without the need to replace or read the sensor-data. Analysing data is another step in which labour can be reduced by creating e-Agriculture applications that require limited input to provide useful information to farmers and researchers. A straightforward option to increase the period the sensors can be used in the field is to adjust the resolution at which the sensors make their observations. The iButton Hygrochron (DS1923) can make temperature measurements at 8- or 11-bit resolution (0.5°C or 0.0625°C), and humidity measurements at 8- or 12-bit resolution, which is either 0.6% or 0.04% RH. The readings, however, are either stored in 8- or 16-bit, with the total memory for this sensor being 8192 bytes. According to the specifications, the temperature accuracy is better than ±0.5°C for most of the range (-10°C to +65°C), while the accuracy of the humidity measurements is ±5% RH. By using a lower resolution sensor for both temperature and humidity, the sensor can store double the number of observation at the same time interval (see table 1).

Table 1: Number of observations and possible observation period at different resolutions

	Number of observations	Time covered at 2-hour interval	Time covered at 1-hour interval	Time covered at 30-min interval	Time covered at 15-min interval
1 unit at low-res	8192	683 days	341 days	171 days	85 days
1 unit at high-res or
2 units at low-res	4096	341 days	171 days	85 days	43 days
1 unit at low-res & 1 unit at high-res	2560[i]	213 days	107 days	53 days	27 days
2 units at high-res	2048	171 days	85 days	43 days	21 days
[i] This value is slightly lower than can be expected (2730 observations) with one 8 and one 16-bit observation.

While changing the sensor resolution has the potential to provide easy gains, a more challenging approach to reduce costs relates to creating low-cost shielding. A large number of recommendations exists (see box 1), which relate to issues such as sensor-height, reflectivity and aeration of the sensor-housing. Literature provides data of related experiments that have been conducted to find low-cost sensor shielding (refs), in which differences have been found of up to 7.40C. Most of these studies have focused on natural areas – where additional shading can easily be found. As the network that will be created will ideally be easy to use in different regions, the material that will be used for the shields will have to be very basic. This means only standard PVC tubes, basic materials for shielding (e.g. insulating foil) and basic approaches to increase aeration (drilling) will be tested.
It is unlikely that these shielding constructions can provide the same accuracy as certified weather stations, but preferably the maximum and minimum will be in a small range that can be reduced by regression of the dataset. The steps that will be taken to make the basic sensor shields and resolution accurate will be: 1) analysing the impact that different sensor resolution has on the provided data – and especially the extremes; 2) studying the impact that different temporal resolution have on the extremes; 3) testing different sensor shields and analysing how these impact on the provided temperature data ; and 4) combining the findings from step 1, 2 & 3 with regression methods and find a balance between the costs of the network and the accuracy of the temperature and humidity data. When assessing trade-offs, the most important factor will be the data robustness and accuracy. Having similar data in the created shields as in a certified weather station is the best (physical calibration), but will be nearly impossible. The difference between the shields and a certified weather station will have to be the same, so that a computer-based correction can take place. It can also be expected that a lower temporal resolution (e.g. 2 hours) will result in smoothing of the data. This can be corrected by different regression techniques, but it will be hard to do this for the extremes, as wind and clouds will play a role at the local level which will be hard to model. On the other hand, it can be expected that – in line with existing literature – it will be very hard to reduce the impact of midday radiation on temperature. As the shields are projected to result in an exaggeration of temperature extremes, reducing the temporal interval (possibly in combination with some correction), could be used to offset these differences and will be tested.

Sensor resolution

An experiment has been done with a total of 30 sensors, making observations at 5-minute interval during one week. The sensors have been placed in a certified weather station - which also houses an official observation instrument, to make sure the conditions would be the same for all sensors. Half the sensors have been set at the highest temperature and humidity resolution, while the other half has been set at the lower resolution. The sensors have been paired throughout the weather station and linear interpolation has been used to get the value at 1-minute intervals. Statistics have been calculated over the dataset at minute-intervals, which contained 30 sensors with 10.080 observations each. Basic temperature graphs are provided in figure 1, while more detailed plots from this experiment (including humidity) are provided in Annex 1. The mean temperature and humidity for the low-res sensors are 22.37°C and 90.45% RH; for the high-res sensors these values are 22.35°C and 90.93% RH. Temperature data is all within a small range (see table 1) for both resolutions. Another important issue to take into account is the variability between sensors; a visual analysis shows that this is especially an issue for the low-res temperature observations. The standard deviation has been calculated as the mean of every row of the data-matrix. Correlation between temperature and humidity is -0.91 for the low- and -0.92 for the high-resolution sensors.

Temporal resolution

his experiment will initially use the high-resolution dataset that has also been used in the previous experiment, and after this the most promising regression techniques will also be applied to the low-resolution dataset to see whether it will provide sufficiently similar results to be able to work with only the low-resolution sensors. The original data-set (5-min interval) will be used, in which the start-moment will be chosen at random. This means no average will be taken, but only one value from the original data-set will be used and the rest will be ignored. Different interpolation techniques are available in the R-package {zoo} (Zeileis & Grothendieck 2005)⁠ , which is developed especially for irregular time-series. The techniques available in this package include linear (na.approx) and cubic spline (na.spline) techniques, which have limited room for adjustment.

When the data is reduced to only have observations at the hour, instead of every minute, the graph continues to have the same complexity and very little data will be lost (Annex 2 - 1). The range for the temperature observations with the high-resolution sensor will be 18.59 – 29.85°C, while the mean will be 22.36°C. While measurements, when interpolated to 1-minute intervals, surpass 30°C (which might be a common threshold), this was only the case at two observations out of the total of 151,200, which makes this negligible. The overall density plot does not change a lot (figure 2), which would result in similar conclusions that will be drawn from these datasets. Although most conclusions that will be drawn from this dataset will be similar to those drawn from the original data-set, a reduction in range could be a problem, as the absolute extremes will change. When only using one value for each hour, randomly selected from the original dataset (Annex 2 – 2), and using a linear interpolation approach to get the value at the exact hour, the resulting plot shows even more smoothing of the data. The range for this dataset is 18.59 – 29.66°C, while the mean remains almost the same (22.35°C). The standard deviation in this experiment is still only ±0.09°C.
When using the low resolution, the range and mean become 18.11 - 30.11°C and 22.38°C when using the closest observation, while it will be 18.11 – 29.85°C and 22.37°C for the random start-moment (Annex 2 – 3 & 4). The maximum difference between any two sensors at a certain moment (exact hour) is lowest when using the closest observation with the high-res sensor (0.65°C), followed by the low-res sensor with the closest value (1.02°C), the high-res sensor with a random start-moment (1.14°C) and finally the low-res sensor with random moment of start (1.69°C). The difference was 0.65/1.02°C (low/high-res) in the original dataset, which shows that the difference does not change when using the closest value. Taking a random starting point increases the maximum difference by ±0.5 degrees Celsius for both types of sensors.

The graphs resulting from the built-in cubic spline function na.spline in the package {zoo} can be seen in Annex 2 – 5:8. The range, when taking the closest measurement, is 18.59-29.89 for the high-res sensors and 18.11-30.16 for the low-res sensors. The means is 22.36 for the high-res and 22.38 for the low-res sensors. The maximum difference at any hour is 0.34 for the high-res and 1.10 for the low-res sensors. With a random starting point, the range for the high-res sensor is 18.57-30.27°C and the mean is 22.35°C. The maximum difference at the hour, however, has gone up from 1.14 to 1.43°C. For the low-res sensor, the range becomes 18.06-30.52°C, with a mean of 22.37°C. The difference between rows stays quite similar with 1.75°C. A summary of the differences caused by these different techniques can be seen in Annex 3. A 2-hour interval is also included in these tables to show how different techniques impact at this larger interval. The mean of al 15 sensors at high-resolution over the week of measurement for the 1-min compared to 2-hour observations (random start-point, linear and spline interpolation) is shown in figure 3. Splines provide a closer match to the original data-set, which is especially clear at higher temperatures. While splines give a good match on most days, it results in a large difference on June 27th, when temperature is highest.
Sensor shielding

This experiment has been conducted on several days on the meteorological station at CATIE (Turrialba, Costa Rica). The first tests have been done with a larger (50mm diameter) PVC tube, after which a smaller version (25mm) has also been tested. All tubes have been thin white PVC tubes existing of several parts: 1) a 1.75m main tube (25cm to place it in the ground); 2) a PVC elbow attached to the main tube; 3) a small (20cm) second tube that will be attached horizontally to the elbow; 4) a second elbow that will be attached to the horizontal section and that will point down again; 5) a final 5cm tube that will be attached to the elbow and in which the sensor will be placed. The sensor will be placed on plastic mesh (mosquito net) that will be located between the elbow and the final part. The material of this net might also have an influence on the sensor, but testing different material to place the sensor on has not been done due to time restrictions.

As only a relatively short time was available for these experiments, the different shields that have been tested are been based on results that have been discussed in existing literature on this subject. Main WMO recommendations have also been taken into account where possible, but have mainly related to the height of the sensor. Another important document has only been discovered after most of the experiments had been conducted (ISO standards on test methods for comparing the performance of thermometer shields). Some of the ISO standards that have been used include: using a test site with a range of meteorological conditions that will also be encountered at the actual field sited; the test site meets the standards of a meteorological station at a height between 1.25 and 2 m; and the shield will be tested under different conditions (in this case only predominantly sunny and cloudy days). The shields were mainly designed to limit the radiation-errors, by increasing the aeration and/or reflectivity. All experiments include at least a ‘control’ blank tube, a tube with holes (aeration), a tube with foil (reflectivity) and a tube with foil & holes. The experiments with 50mm tube also include reflective tape, but these were too difficult (thick) and expensive to also try on the smaller tubes. The graph of the first experiment, with 6 blank 50mm tubes (2 sensors each) and 6 sensors in the official weather station, is shown in figure 4.
The first experiment already showed that the peaks in temperature during the peak sun-hours (around noon) are much higher in the station than in the station. There is a strong correlation between the temperature and humidity (-0.98), so the peaks in humidity are similar to the peaks in temperature. For this reason, only temperature statistics have been studied in the different structures, and correlation has also been provided to show how significant these results will be for the humidity data. The graphs of the four experiments (50mm vs. 25mm, ‘sunny’ vs. ‘rainy’ day) are provided in Annex 4. All graphs – except for the 4th graph, have observed 1-minute intervals from midnight to midnight (1440 observations), the final graph has the same number of observations, but has been measuring the temperature and humidity from 3pm to 3pm due to the weather conditions. A visual analysis of these graphs already gives the impression that sun will be the biggest problem for the accuracy. The first experiment (50mm with no further adjustment) provides a mean of 24.32°C, compared to a mean of 23.81°C in the station. The minimum is also quite similar, with 20.94°C in the tubes and 20.50°C in the station; the main problem, however, is the maximum: 28.33°C in the station and 31.71°C in the tubes. The standard deviation in the tubes was 0.25°C, compared to 0.06°C in the station. The results from the experiments with different constructions are provided in tables 2A & B.

The experiments show that sensor housing will not make any different on a fully cloudy day (2B), but even on a cloudy day with very limited sun (2A), the peaks can be very significant. Very limited adjustments (nothing, white paint, or tape) result in the largest differences in the maximum value – almost 6°C on a sunny day in a 25mm PVC tube without adjustment. The lowest differences on sunny days are found for the insulating foil (without holes). Although holes alone perform quite acceptable in both 25 & 50mm tubes on the sunny days (2nd after the insulating foil), this approach is quite labour intensive and will create the risk that water will reach the sensor. Combining holes and foil is providing higher maximum values for the sunny days in both types of sensor shields. More detailed discussion will follow later in the discussion section. A next step will be to combine experiments 1 and 2, to see whether a reduced temporal interval (possibly in combination with additional smoothing) has the potential to provide better results on the sunny days.
Data calibration

As it will be very difficult to increase the performance of the sensor shielding without also significantly increasing the costs of the shields, a regression analysis will have to be performed on the dataset. As is already shown in experiment 1B, increasing the temporal interval from 1 minute to 1- or 2-hours, will result in some data-smoothing. Non-parametric regression, in which the predictor is derived from the data, would be the easiest approach, and can include smoothing techniques such as smoothing splines and loess (local) regression. The limitation with smoothing is that it is a symmetrical approach and does not perform well on datasets in which the ‘peaks’ that will have to be smoothed are predominantly positive / asymmetrical – see figure 5. Several approaches have been tested: Turkey’s running median (3RS3S), smoothing splines (smoothing parameter of 0.5) and LOWESS regression (9 hour window), which all show values closer to the temperature in the station (Annex 4: 1-3). For this experiment the five separate days with experiments in different shields vs. the station have been merged, to create a five-day period with different types of days. The temperature in the station is compared with the data in the 25mm & 50mm shields with the least adjustment (painted white or with no adjustment). One day lasts from 3pm to 3pm, which explains the long & short colder periods between days 3 & 4 and 4 & 5. During the warmer (midday) periods, the temperature is significantly warmer on sunny days, while the cold temperature is slightly lower in the tubes.

Smoothing is a solution if the shields cannot reduce the impact of strong radiation during the day, but is not preferred for many reasons. The impact of midday radiation might be reduced easily, but the required smoothing parameters will likely increase the minimum to a level that will cause new problems for further analysis when there will be more different types of days. The original station range was 19.71-28.9°C, with a mean of 22.87°C, while the original range in the shields has been 19.15-33.31°C (mean = 23.19). The range and mean of the three smoothing techniques are: 19.15-33.27°C (23.19°C) for Turkey’s smoothing; 19.33-31.03°C (23.19°C) for smoothing splines; and 20.40-29.41°C (23.12) for LOWESS smoothing. None of these approaches seems to be very useful.
Parametric regression analysis has many advantages over non-parametric regression, as the relationship can be adjusted to certain conditions. Common models include linear regression, generalized least squares, polynomial regression and general linear models. These can be used for forecasting new values that are not found in the original dataset. The main limitation in parametric regression is that you have to estimate the relationship, which - in these case of this project - will require a period in which the shields will be compared with an original weather station. This has been possible in this project, but might not be feasible in all other regions. Another issue that will have to be taken into account is that a wide range of climatic conditions will have to be calibrated at the weather station to avoid values outside of the model. As can be seen in figure 6, the parametric regression can be used to predict values between ± 20 and 34°C, this is based on the {quantreg} R package (Koenker 2011)⁠. As the field work will be conducted several hundred meters higher (the weather station is at ±600m), the minimum temperature might be outside of this range. This is a limited problem, as the differences at lower temperatures are not significant (< 0.5°C).

As five (quite different) days of 1-minute data from both the weather station and shields (although not all derived the same type of sensor shield) are available, this can be used in a parametric regression which can be used to calibrate the field-data. While the most common approaches are linear, least squares and polynomial, the approach selected here has been quantile regression. Quantiles are sets of a variable, which will divide a frequency distribution into equal groups – each containing the same fraction of the total population[ii]. The value 0.5 (2nd quantile) relates to the median, while other values that will be used are the 1st and 3rd (0.25 & 0.75) quantiles. The main advantage of this method over other methods of regression is that it is easy to avoid outliers – which will be one of the main problems in the shields. The 3rd quantile, together with a linear model (with a R-squared of x.xx) are plotted in figure X. Using the 3rd quantile will result in less smoothing at higher values, but it could result in values of ±30°C, which will be more difficult to get with the other two approaches. The R2 of the linear regression is high, but the line looks quite different. A linear model has also been created of the change in time in the weather station versus the change in time in the shield. There is a clear linear relationship with a R2 of x.xx. While this seems to indicate what the real 'problem' is, this cannot easily be used for corrections due to cumulative errors when using this on longer periods. Quantile regression with the 3rd quantile has been used for temperature corrections, and the 1st quantile has been used for humidity corrections (Annex X).
[ii] http://www.oxforddictionaries.com/definition/english/quantile
Discussion

A preliminary conclusion which can be drawn from experiment 1 will be that working at a higher-resolution would not make a lot of sense for both temperature and humidity, as the reduced interval at which observations can be made will likely reduce the quality of the data-set more than this can be increased by the higher accuracy of the higher resolution. Especially for relative humidity, a high-resolution would not contribute meaningfully in the intended projects. The range of observations, as well as the standard deviation between sensors, is higher than for the low-res sensors. In this case, the low-resolution sensor even seems to be better. For temperature, the mean is very similar (within 0.02°C), while there is a large difference between the standard deviation in both datasets. This is not necessarily a big problem, as the maximum standard deviation at any moment is less than 0.4°C. While was is already quite clear that measurements at low-res would be fine for relative humidity, the impact of the low-resolution on temperature required more study. Experiments at different temporal interval and with different interpolation have found differences between the sensors, but only small compared to changing the temporal interval from 1 to 2 hours or when using different shields. Another option that will be studied in a later experiment will be whether using the humidity sensors on all the iButtons would be useful at all; an alternative would be to only use this in one out of every x sensors, to be able to make more temperature measurements, while not losing a lot of information about the humidity.

While increasing the temporal interval from 1 minute to 1 hour will result in some smoothing of the data, there does not seem to be a lot of difference between using random start-points or the closest value in the original dataset. The smoothing that results from increasing the temporal interval is negligible compared to the increased range of the data that results from working with PVC sensor–shields. Using a 2-hour interval in the PVC shields will still provide a larger temperature range than a 1-minute interval in the weather station will provide, but a 2-hour interval has the potential to miss peaks during the day, and for that reason is not recommended. The main recommendation is to create a script that launches all the sensors at the same moment, while more research into sensor shields that can reduce the effect of midday radiation without adding too much costs, is also something that would provide a lot of benefits to similar projects. In addition to this, it is recommended to place several sensors near a certified weather station for the duration of the project, from which a model can be created with quantile regression. This model can be used to predict (correct) the values that have been observed in the field to avoid the impact of outliers on the further analysis.
4. Spatial aspects of the network

Sampling & spatial distribution

The Hacienda Aquiares is the largest coffee plantation in Costa Rica, covering around 924 hectares, of which 673 are cultivated with (shade-grown) Arabica coffee. The farm is located in between the Pacific Ocean (+- 70 km) and the Atlantic Ocean (+- 55 km). More important factors in the area are the vicinity of the Turrialba Volcano, which is 3,340 m and which peak is only located around 7 km from the upper parts of the farm (close to 12 km from the lower parts). The farm starts just above 800m and continues to close to 1400 meters. The lowest sensors in this study has been placed at 832 meters and the heighest at 1399 meters, giving a more than 500 meter altitude range to study. Coffee quality associated with a certain altitude, which will relative to the prevailing climate (temperature, radiation & humidity) and possibly to the different soils at the higher altitudes. The coffee with the best quality is considered to be located > 1100 meter. This is around 45% of the area, but estimated to only suppy 31% of the crop (Cornell University n.d.)⁠ ; this is likely the result of the natural areas that can also be found at the higher altitud⁠es, where the inclination of the terrain is generally also steeper. The presence of natural areas can be seen in a map of the Leaf Area Index (LAI) of the farm, in which areas in the upper regions often have values that can be associated with that of forest (McWilliam et al. 1993)⁠. The spatial distribution of sensors over the factors that are expected to play a possible role (altitude, leaf area index, vegetation height and soil?) are provided in Annex X. Sampling was based on a hexagonal grid inside a watershed of the farm (n=50), while the placing of the other 50 samples was calculated by adding two points to 25 strata's (equal areas) in the study area. This has been based on the {spcosa} R package (Walvoort et al. 2013)⁠. Using strata's of equal area – the methdology is described in (Walvoort et al. 2010)⁠ – with two samples each, has been selected to reduce the impact of lost sensors. It was estimated that around 20% of sensors would be lost (stolen or in other ways irretrievable), based on similar projects in the region.

In the end, the bad all weather made it difficult to reach all points, which led to an assessment (together with local farmers) of other suitable locations in the vicinity of the original point. The number of points at different levels (50 in the watershed & 50 in the farm) has remained the same. A GPS has been used to store the location of all points, resulting in the coverage shown in figure X. The blue points are the sensors which have been retrieved, black squares are sensors that have been lost (7 were removed from the shield, 7 were not found in time for further analysis), while the red triangles are sensors that have been recovered, but had data that could not be used. The latter is the case when the sensor has been in contact with water, which result in a very stable temperature (limited diurnal fluctuations) and a humidity which is almost constantly at or above 100% RH.

Interpolation strategy

Interpolation is a method to 'estimate values of (data or a function) between two known values' (Merriam-Webster Dictionary 2014) and is often applied on spatial datasets which have a limited number of high precision observations that are used to predict reasonable values for unknown points. Some of the best known approaches to multivariate/spatial interpolation include Inverse Distance Weighting, Delaunay triangulation, Kriging, and spline interpolation; all these techniques are discussed in Mitas & Mitasova 1999. These are, however, all approaches to 2-dimensional interpolation. The data in this project includes the time dimension, which means an additional factor will have to be taken into account. Two approaches to dealing with the time dimension are reduction and extension (Li & Revesz 2002; Li & Revesz 2004)⁠: a reduction approach takes away the time dimension and applies one of the basic (2-dimensional) approaches to interpolation for any set in time; the extension approach will use time as another dimension and only works with a part of the interpolation techniques. While modifications could be made to several types of interpolation, the selection for the method in this research has been based on existing R functions to limit the time spent for this complex exercise. The R-package {gstat} (Pebesma & Wesseling 1998) includes a function to create different types of spatio-temporal variograms and subsequent use these for ordinary global Spatio-Temporal Kriging, while the {spacetime} R-package (Pebesma 2012)⁠ includes additional methods and classes for spatio-temporal data. Ordinary Kriging is a type of linear Kriging that uses the spatial correlation in determining the predictor coefficients. As basic DEM information will also be available for all regions, this could be added in cokriging of temperature. Including one or more covariables in the dataset (several can be derived from DEMS and the position of the sun) will provide a more smoothed output - reducing the impact of outliers (Odeha et al. 1994)⁠ and can work well in cases less sensors will be available.

Figure
In order to apply spatio-temporal Kriging, variograms will have to be created for both space and time. Different approaches are available in the vgmST function of the {gstat} package that have different approaches on how to deal with the seperate elements. While selecting values can be done on complex calculations, temperature is quite a basic unit to measure. At any time of day, there will be a correlation in temperature over relatively regions due to the position of the sun (not taking into account shadows and clouds), while in time temperature will have a more complex relationship. During the night, correlation might be found for several hours, while during the day, this cannot be expected to be for more than two hours in complex terrains. The time-dimension is less important for temperature than the spatial dimension at any moment, which means a reduction model will likely provide equally useful information. When looking at the Pearson's correlation between columns with a) sensor data (spatial); and b) temporal data, the mean correlation is clearly higher for sensors (r = 0.99), compared to time (r = 0.59). The minimum correlation for sensors is 0.89, while this is < 0.01 in time. The minimum correlation when working with a 1-hour interval is 0.65, which drops to 0.47 for 2-hours and 0.34 for 3-hours. Based on trial & error and some basic assumptions, the values for the variogram for space and time both have been given a sill of 1, while the space variogram includes a spherical model and as range the maximum distance (in kilometers) between any two observations, while the time variogram includes a linear model and a range of 2 (two hours) in the case of hourly observations (see figure x). Before continuing with analyzing the correlation between the temperature & humidity rasters with numerous other factors, a few statistical analyses will be undertaken to assess the current accuracy of the network. The krigeST function will result in an STFDF class from the {spacetime} package; once the spatio-temporal data has been added to this class, it can be converted to a raster (newly created function). This raster can be used for further statistical analysis and to visualize the data (including the possibility to do additional raster calculations) as *.gif animation or as animation in Google Earth.
⁠Network accuracy

The current number of sensors is very high for a relatively small area, finding correlation between certain variables and using regression kriging can help to reduce the number of sensor that will be required. A first analysis that will be made regarding the network accuracy is on the results of the ordinary Kriging. Some of the approaches that can be used to verify the accuracy of the interpolation include bootstrapping, cross-validation and jacknifing, which are explained in Efron & Gong 1983. The selecting of approach to data validation has been based on existing research on spatial-temporal interpolatio methods. A publication by Kilibarda et al. 2014, has used 'leave-one-out' (LOO) cross validation to assess the accuracy of predicting daily temperatures at the global level; which showed some interesting finding for this research. An important concept in cross-validation is the root-mean-square-error (RMSE). The RMSE is a measure of the difference between predicted (modelled) and actual values and aggregates the different residuals into one aggregated measure. For the dataset with mean temperature, the RMSE has been calculated at 0.12°C, while this is 0.06°C for the dataset with minimum temperature and 0.22°C for the dataset with maximum temperature. The maximum difference between the predicted and actual temperature is 0.31°C for the minimum temperature, 1.03°C for the mean temperature, and 2.56°C for the maximum temperature. The error is in all situtions largest around 10 am, while it is lowest (negative for mean & max temperature) around noon. This can be the result of the fast increase in temperature in the shield compared to the increase in temperature in the shield. These results are generally in line with expectations, except in the case of the minimum temperature, which can be predicted more accurately than the mean temperature. Even with a smaller range, extreme values are often more difficult to predict than the mean value, as has been the case for the maximum temperature. The residuals, when comparing the predicted and actual value for the maximum temperature, are interpolated and shown in figure x. This shows...

When plotting the RMSE of the mean temperature of a sensor against the distance to its closest two neighbours, the trend shows that the RMSE is higher (both positive and negative) for sensors that have other sensors nearby, than sensors that are located in more remote areas. This is different from the finding in Kilibarda et al. 2014. Similarly, when plotting the RMSE of the mean temperature of each sensor against the altitude at which it has been placed, a similar trend can be seen. At lower altitudes and at higher altitudes, the RMSE is close to zero, while at the altitude of the watershed – in which sensors have been placed at a high density – the RMSE fluctuates more. This shows that it is harder to predict the temperature at sensors that are placed at high density in smaller area. One possible cause is that it is more difficult to find sensors that have not been performing well in areas that have a higher density of sensors, while human activity at this altitude can also play a role (e.g. vicinity of roads, touching sensors). This relatively high RMSE can be found for not only the mean, but also minimum and maximum temperature, and is clearly linked to the short distance to neighbouring sensors. Changing parameters such as range (which currently covers the entire area), when creating the variogram, can change this RMSE and will likely lower this sensors that are located close, but this will cause problems for the sensors that are located in more remote areas. An obvious solution would be to use a similar density throughout the study area and base the interpolation parameters on this, although this might be more difficult from a practical perspective.

Covariates

Covariates (or co-variables/predictors) are variables that can be used to predict another variable; the dependent variable. The best know covariates that can be used to predict temperature is elevation (Ishida & Kawashima 1993)⁠, while other covariates often relate to the position relative to the sun and factors that influence shading, such as the leaf area index (LAI) (Jin & Zhang 2002). Covariates can be used in predicting the temperature in different ways, such as co-kriging. Co-kriging is an interpolation technique that allows for several – generally more samples – variables to be used in predicting the dependent variable; this is most effective when there is a high correlation between the covariate and the prediction variable (Hartkamp et al. 1999). Different covariates can be used to predict the mean, minimum and maximum temperature. There is a general trend that more covariates result in better result (lower RMSE), although the gains become neglible after a certain number; this was five variables for the minimum and six variables for the maximum in a study by (Jarvis & Stuart 2001). Several data sources are available for possible co-kriging in this study; a SRTM Digital Elevation Map (Jarvis et al. 2008)⁠, a map of the Leaf Area Index (provided by CIRAD), and a LiDAR map of the vegetation height (reference). In addition to this, two R-packages {insol}: doshade function (Corripio 2014)⁠ ⁠and {raster}: hillShade function (Hijmans & van Etten 2010)⁠, together with a calculator of the sun position, have been used to create a covariate that changes in time. As the maps of minimum, mean, and maximum temperature over a day have been based on a longer period (the middle day being August 22nd), this day has been used in the calculation of the sun position. For every hour the correlation between elevation, leaf area index, vegetation height, and sun/shadow will be calculated to see how this changes during a day. ⁠⁠⁠⁠

Altitude

The elevation has been taken as the provided value by the GPS and not by an extracted value from a disaggregated Digital Elevation Model, as the GPS value is expected to be more accurate in the complex terrain. The correlation (Pearson's r) of mean temperature with altitude has a range of -0.25 to -0.97, with a mean of -0.68. As expected, the correlation is strongest when there is no – or limited – influence of the sun (6pm to 7am). According to the day-length function in the {insol} package, the sunrise on August 22 was up just before 6am, while the sunset was just before 6pm. For minimum temperature, the correlation with altitude has a range of -0.42 to -0.98 and a mean r of -0.78, which is a stronger correlation than for the mean. The trend during the day is the complete oppossite of that of mean temperature, with the lowest correlation during the nighttime, while the correlation is high during the day. For the maximum, the range of the Pearson's r has been 0.09 to -0.95, with a mean of -0.53. The trend is the same as for the mean temperature, with highest correlation during the night, but low correlation between 8am and 6pm (-0.16), compared to -0.51 for the mean temperature and -0.90 for the minimum temperature. Correlation between temperature and humidity has been 0.32 to -0.99 (mean = -0.94) for the mean, while the minimum and maximum temperature are better correlated with the other extreme of humidity. Maximum temperature and minimum humidity have a mean r of 0.91, which is -0.77 for maximum humidity with minimum temperature (there are some missing values in the maximum humidity dataset).

Leaf area index

While correlation between leaf area index and temperature would make sense in multistory landscapes, the leaf area index in de Aquiares farm is only …. As the sensors have been placed at 1.20 meters and have been placed next to the coffee crop, the only impact on temperature would come from larger trees. The coffee crops are replaced every x years (reference), which also reduces the reliability of the data of the LAI map. The mean Pearson's r that has been found (25m radius around the sensor) between LAI and mean temperature is -0.07 (range: -0.01 to -0.15) , -0.02 (range: 0.04 to -0.13) for minimum temperature and -0.05 (range: 0.06 to -0.14) for the maximum temperature. At no moment the correlation between any of the temperature statistics and the temperature has been higher than -0.15. There seems to be some correlation between the leaf area index and temperature (a higher density results in a lower temperature), but this is relatively limited and – in combination with the fact that maps of LAI are not easy to get – make this variable of limited use as covariate in co-criking in other similar projects.

Vegetation height

LiDAR introduction

The average vegetation height in a 25 radius around the sensors is just over 10 meters, with a minimum of 4.3 meters and a maximum of 21.5 meter. This might be a slight exaggretion of the actual height as the heighest value from each cell has been taken, but the trends in the map are in line with what has been seen in the field. The areas near the rivers and at higher altitudes have higher vegetation, as there is more natural vegetation in these areas that are hard to access. The correlation between the vegetation height and mean temperature has a range of -0.02 to -0.30 (mean r = -0.20). For minimum temperature this range has been -0.08 to -0.32 (mean r = -0.20) and for maximum the range has been 0.13 to -0.32 (mean r = -0.15). This is, after altitude and leaf area index, a third variable with a negative correlation on temperature. The correlation seems to be stronger during the night, but shows different trends during the day. The correlation with maximum temperature is lowest during the day, which shows that shading will be hard to estimate from such maps when not taking into account the angle of the sun.

Sun position
Explanation south facing slope and scale of the map
Introduction
Hillshade
Doshade
These calculations are based on three main functions; the sunPosition function (StackOverflow answer by Josh O'Brien - based on Spencer 1989), a modified version of the doshade function (Corripio 2014), which has been based on a study on modelling solar radiation on mountainous terrain (Corripio 2003), and finally the well-known hillShade function, which is found in – amongst others – the {raster} package. The calculations of the sun position requires the year, month, date, latitude and longitude; the output is a vector of elevation and azimuth for the requested time and place. The doshade function requires a normalvector as input, which is a vector in the direction of the sun. The conversion of azimuth and elevation to the solar vector is based on the example provided in the {insol} vignette and might not cover the full complexity of what the sun vector is. The azimuth has remained similar (0 is north, 90 is east, 180 is south & 270 is west), but the elevation has been subtracted from 90 (as in the example). The hillShade function requires the angle and direction of the sun, which means the provided output of the sunPosition function does not have to be modified for these calculations. As the position of the sun will be calculated without correction for the timezone, a loop will be created to find the corrected position (in this case 07 h to 23 h on August 22nd & 00 h to 06 h on August 23rd).

The first map that has been created is a static map in which both the hillshade and cast shadows have been taken into account (see figure x). A 10 minute interval has been used to create the map to ensure that the map gives a good indication of the percentage of time each part of the area is in the sun/shadow. Both range have an equal weight and the total period the area is in the sun has been divided by the daylength to get a ratio of the time in the sun. The correlation range between this map and the temperature data is -0.09 to 0.48 (mean r=0.19) for the mean temperature, -0.17 to 0.43 (mean r=0.18) for minimum temperature and -0.25 to 0.54 (mean r=0.19) for the maximum temperature. These values include the nighttime when correlation is lowest on average. When only looking at the correlation between 10 am and 6 pm, the correlation becomes much higher with a mean r of 0.25 for maximum temperature, 0.34 for minimum temperature and 0.35 for the mean temperature The strongest positive correlation between total sun during the day and temperature is towards the end of the day. This can be caused by the fact that around this time the areas at higher altitudes will be covered by the shadow from the vulcano, but there is also some overlap between the areas with most shadow and the areas at higher altitude, which means that corelation between sun and altitude (r = -0.36) can play a role in this correlation. Autocorrelation between different covariates will be discussed in more detail in this chapters' discussion.
Hillshade is the first temporal changing covariate that will be analyzed for correlation. While the normal range for hillshade (hs) is -0.5 to 0.5, this has been corrected by applying 2/3 * (hs+0.5) to get a 0 (shadow) to 1 (full sun) value. The moments without sun have automaticallly been set to 0 to avoid unneccessary calculations; this means that values outside the calculated day-length values (sunrise & sunset) are all the same. For mean temperature, the correlation during the day ranges from +0.25 in the morning to – 0.35 at 3pm. The mean of this Pearson's r is only -0.06. For minimum temperature, the range is -0.22 to 0.32 (mean r = 0.06), while this is -0.45 to 0.19 for maximum tempeature (mean r = -0.15). These values show that there is very limited correlation with of temperature with hillshade alone. When using the cast shadows without adding hillshade (0 is cast shadow, 1 is no shadow), the correlation with mean temperature is r=-0.17, with minimum temperature r= -0.26, and with maximum temperature r=-0.12. The range for correlation is -0.47 to 0.17 for the mean temperature, -0.49 to 0.13 for minimum temperature and -0.52 to 0.21 for the maximum temperature. The main problem when using cast shadows alone is that on moments of zero variance (all areas are in the sun or shadow), the correlation cannot be calculated.

Combining the two types of shadow ((cs + (2/3 *(hs + 0.5))/2) will also give values ranging from 0 to 1, but will include both factors in the study. The range of the Pearson's r of shadow and mean temperature is -0.50 to 0.14, with a mean of -0.20. The range of the correlation of shadow with minimum temperature is -0.49 to 0.05 (mean r=-0.23) and with the maximum temperature it is -0.57 to 0.17 (mean r=-0.17). The correlation is strongest (negative) around the time when the sun goes down (6-7pm), but there is a lack of positive correlation of positions that are located in the sun with the temperature.

> range(cs.maxT, na.rm=TRUE)
[1] -0.5683103 0.1692667
> mean(cs.maxT, na.rm=TRUE)
[1] -0.1688764

Discussion

autocorrelation

Altieri, M., 2002. Agroecological Principles for Sustainable Agriculture. In Agroecological innovations : increasing food production with participatory development. pp. 40–46.
Ashcroft, M.B. & Gollan, J.R., 2013. Moisture, thermal inertia, and the spatial distributions of near-surface soil and air temperatures: Understanding factors that promote microrefugia. Agricultural and Forest Meteorology, 176, pp.77–89.
Baggio, A., 2005. Wireless sensor networks in precision agriculture. Precision Agriculture, pp.1–22. Available at: http://citeseerx.ist.psu.edu/viewdoc/download?doi=10.1.1.120.46&amp;rep=rep1&amp;type=pdf.
Beardsley, T.M., 2014. It’s 2014... Do you know where your data are? BioScience, 64, p.559.
Brown, N., 1993. The Implications of Climate and Gap Microclimate for Seedling Growth-Conditions in a Bornean Lowland Rain-Forest. Journal of Tropical Ecology, 9, pp.153–168. Available at: <Go to ISI>://1993LP12500002.
CGIAR/CCAFS, 2011. Analogues online toolkit: calculate climate analogues. A glimpse of tomorrow’s climates, today. Available at: http://gismap.ciat.cgiar.org/analogues/.
Cornell University, I.P.-C. of A. and L.S., Aquiares Estate: Coffee & Community Since 1890. Available at: http://ip.cals.cornell.edu/undergrad/docs/study-abroad-prog-Aquiares-Estate.pdf.
Corripio, J.G., 2014. Package “insol.” R package ver. 2.0–8, p.37. Available at: http://www.meteoexploration.com/R/insol/index.html.
Corripio, J.G., 2003. Vectorial algebra algorithms for calculating terrain parameters from DEMs and solar radiation modelling in mountainous terrain. International Journal of Geographical Information Science, 17, pp.1–23.
Daly, C. et al., 2002. A knowledge-based approach to the statistical mapping of climate. Climate Research, 22, pp.99–113.
Easterling, W.E. et al., 1992. Preparing the erosion productivity impact calculator (EPIC) model to simulate crop response to climate change and the direct effects of CO2. Agricultural and Forest Meteorology, 59, pp.17–34.
Edwards, P.N., 2010. A Vast Machine: Computer Models, Climate Data, and the Politics of Global Warming, Available at: http://www.amazon.com/Vast-Machine-Computer-Climate-Politics/dp/0262013924.
Efron, B. & Gong, G., 1983. A leisurely look at the bootstrap, the jackknife, and cross-validation. The American Statistician, 37, pp.36–48.
Erickson, C.O., 1964. Meteorological Satellites. Science (New York, N.Y.), 143, pp.612–613.
Van Etten, J., 2011. Crowdsourcing crop improvement in sub-Saharan Africa: A proposal for a scalable and inclusive approach to food security. IDS Bulletin, 42, pp.102–110.
FAO, 2000. Bridging the rice yield gap in the Asia-Pacific Region. Food and Agriculture Organization of the United Nations, p.215. Available at: http://coin.fao.org/coin-static/cms/media/9/13171760277090/2000_16_high.pdf.
FAO, 2013. EcoCrop. Available at: http://ecocrop.fao.org/ecocrop/srv/en/home.
Gakuru, M., Winters, K. & Stepman, F., 2009. Innovative Farmer Advisory Services Using ICT. In IST-Africa 2009 Conference Proceedings. pp. 1–11.
Govindasamy, B., Duffy, P.B. & Coquard, J., 2003. High-resolution simulations of global climate, part 2: Effects of increased greenhouse cases. Climate Dynamics, 21, pp.391–404.
Hijmans, R.J. et al., 2005. WORLDCLIM - a set of global climate layers (climate grids). International Journal of Climatology, 25, pp.1965–1978. Available at: http://www.worldclim.org/.
Hijmans, R.J. & van Etten, J., 2010. raster: Geographic analysis and modeling with raster data. R package version, 1, p.r948.
Ishida, T. & Kawashima, S., 1993. Use of cokriging to estimate surface air temperature from elevation. Theoretical and Applied Climatology, 47, pp.147–157.
Van Ittersum, M.K. et al., 2013. Yield gap analysis with local to global relevance-A review. Field Crops Research, 143, pp.4–17.
Jarvis, A. et al., 2008. Hole-filled seamless SRTM data V4. International Centre for Tropical Agriculture (CIAT), p.available from http://srtm.csi.cgiar.org.
Jarvis, C.H. & Stuart, N., 2001. A Comparison among Strategies for Interpolating Maximum and Minimum Daily Air Temperatures. Part II: The Interaction between Number of Guiding Variables and the Type of Interpolation Method. Journal of Applied Meteorology, 40, pp.1075–1084.
Jedermann, R. et al., 2006. Applying Autonomous Sensor Systems in Logistics - Combining Sensor Networks , RFIDs and Software Agents. Sensors and Actuators A: Physical, 132, pp.370–375.
Kilibarda, M. et al., 2014. Spatio-temporal interpolation of daily temperatures for global land areas at 1 km resolution. Journal of Geophysical Research: Atmospheres, 119, pp.2294–2313.
Koenker, R., 2011. Quantile regression in r: a vignette. Online, 15, pp.1–21. Available at: http://citeseerx.ist.psu.edu/viewdoc/download?doi=10.1.1.161.133&amp;rep=rep1&amp;type=pdf.
Letten, A.D. et al., 2013. The importance of temporal climate variability for spatial patterns in plant diversity. Ecography, 36, pp.1341–1349.
Li, L. & Revesz, P., 2002. A Comparison of Spatio-temporal Interpolation Methods. In Geographic Information Science. pp. 145–160.
Li, L. & Revesz, P., 2004. Interpolation methods for spatio-temporal geographic data. Computers, Environment and Urban Systems, 28, pp.201–227.
Lin, B.B., 2007. Agroforestry management as an adaptive strategy against potential microclimate extremes in coffee agriculture. Agricultural and Forest Meteorology, 144, pp.85–94.
Lobell, D.B., Cassman, K.G. & Field, C.B., 2009. Crop Yield Gaps: Their Importance, Magnitudes, and Causes. Annual Review of Environment and Resources, 34, pp.179–204.
Mainwaring, A. et al., 2002. Wireless Sensor Networks for Habitat Monitoring. In Proceedings of the 1st {ACM} International Workshop on Wireless Sensor Networks and Applications. pp. 88–97. Available at: http://doi.acm.org/10.1145/570738.570751.
Van Marken Lichtenbelt, W.D. et al., 2006. Evaluation of wireless determination of skin temperature using iButtons. Physiology and Behavior, 88, pp.489–497.
McWilliam, A.-L.C. et al., 1993. Leaf Area Index and Above-Ground Biomass of terra firme Rain Forest and Adjacent Clearings in Amazonia. Functional Ecology, 7, pp.310 – 317. Available at: http://www.jstor.org/stable/2390210.
Mendelsohn, R. et al., 2007. Climate analysis with satellite versus weather station data. Climatic Change, 81, pp.71–83.
Merriam-Webster Dictionary, 2014. Merriam-Webster Dictionary. Merriam-Webster Dictionary, p.Accessed 23 Sept. 2014. Available at: http://www.merriam-webster.com/dictionary/.
Miller-Rushing, A., Primack, R. & Bonney, R., 2012. The history of public participation in ecological research. Frontiers in Ecology and the Environment, 10, pp.285–290. Available at: <Go to ISI>://000307146600004\nhttp://www.esajournals.org/doi/pdf/10.1890/110278.
Mitas, L. & Mitasova, H., 1999. Spatial interpolation. In Geographical Information Systems: Principles, Techniques, Management and Applications. pp. 481–492. Available at: http://skagit.meas.ncsu.edu/~helena/gmslab/papers/hgint39.pdf.
Morton, J.F., 2007. The impact of climate change on smallholder and subsistence agriculture. Proceedings of the National Academy of Sciences of the United States of America, 104, pp.19680–19685.
Nhemachena, C. & Hassan, R.M., 2007. Micro-Level Analysis of Farmers ’ Adaptation to Climate Change in Southern Africa. Food Policy, p.2. Available at: http://www.ifpri.org/publication/micro-level-analysis-farmers-adaptation-climate-change-southern-africa-0.
Odeha, I.O.A., McBratney, A.B. & Chittleborough, D.J., 1994. Spatial prediction of soil properties from landform attributes derived from a digital elevation model. Geoderma, 63, pp.197–214.
Perfecto, I. & Vandermeer, J., 1996. Microclimatic changes and the indirect loss of ant diversity in a tropical agroecosystem. Oecologia, 108, pp.577–582.
Popa, M. & Iapa, C., 2011. Embedded weather station with remote wireless control. In 2011 19th Telecommunications Forum, TELFOR 2011 - Proceedings of Papers. pp. 297–300.
Ramirez-Villegas, J. et al., 2011. Climate Analogues : finding tomorrow’s agriculture today. CGIAR research program on climate change, agriculture and food security.
Rérolle, V.M.C. et al., 2012. Seawater-pH measurements for ocean-acidification observations. TrAC - Trends in Analytical Chemistry, 40, pp.146–157.
Ruiz-Garcia, L. et al., 2009. A review of wireless sensor technologies and applications in agriculture and food industry: state of the art and current trends. Sensors (Basel, Switzerland), 9, pp.4728–50. Available at: http://www.pubmedcentral.nih.gov/articlerender.fcgi?artid=3291936&tool=pmcentrez&rendertype=abstract.
Satyanarayana, T., Kaushik, M. & Biradar, D.P., 2011. New approaches and tools for site-specific nutrient management with reference to potassium, Available at: http://ovidsp.ovid.com/ovidweb.cgi?T=JS&CSC=Y&NEWS=N&PAGE=fulltext&D=caba6&AN=20113079706.
Schiermeier, Q., 2010. The real holes in climate science. Nature, 463, pp.284–287.
Shah, R.C. & Rabaey, J.M., 2002. Energy Aware Routing for Low Energy Ad Hoc Sensor Networks. In Proceedings of 10th International Conference on Communications and Networks(WCNC ’02). pp. 350–355.
Singh, S., 2012. E-Agriculture and Rural Development, Available at: http://www.scopus.com/inward/record.url?eid=2-s2.0-84898362180&partnerID=tZOtx3y1.
Tilak, S., Abu-Ghazaleh, N.B. & Heinzelman, W., 2002. A taxonomy of wireless micro-sensor network models. ACM SIGMOBILE Mobile Computing and Communications Review, 6, pp.28–36.
Walvoort, D., Brus, D. & Gruijter, J. de, 2013. Package “spcosa.” R, pp.1–25. Available at: http://cran.r-project.org/web/packages/spcosa/spcosa.pdf\nhttp://www.icesi.edu.co/CRAN/web/packages/spcosa/spcosa.pdf.
Walvoort, D.J.J., Brus, D.J. & de Gruijter, J.J., 2010. An R package for spatial coverage sampling and random sampling from compact geographical strata by k-means. Computers and Geosciences, 36, pp.1261–1267.
Whiteman, C.D., 2000. Mountain Meteorology: Fundamentals and Applications, Pacific Northwest National Laboratory, Richland, WA (US).
World Meteorological Organization, 2008. Guide of Meteorological Instruments and Methods of Observation. In WMO. pp. I.15–1 to I.15–11–II.2–10 to II.2–11.
Zeileis, A. & Grothendieck, G., 2005. zoo : An S3 Class and Methods for Indexed Totally Ordered Observations. Wirtschaftsuniversität Wien.